**CONSTRUCTION WORK CDM COMPLIANCE CHECKLIST ✓**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Project Title |  | | | Project Number |  |
| Location |  | | | Principal Contractor |  |
| TBC |  | | | Principal Designer |  |
| Start Date |  | End Date |  | Project Manager |  |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | **Yes** | **No** | **N/A** | **Responsible Person** | **Comments** |
|  | **Feasibility Stage** |  |  |  |  |  |
| 1 | If more than one contractor required for works, has Client appointed a Principal Designer? |  |  |  | Project Manager | *Discuss with Estates Operations (EO) Safety Team at Stage 1* |
| 2 | Asbestos survey (R&D) undertaken and report received from Adams Environmental? |  |  |  | Project Manager | *Send request for report to Adams Environmental through the EO Customer Services.* |
|  | **Pre-tender Stage** |  |  |  |  |  |
| 3 | Has project been registered with Alyson Brewer? |  |  |  | Project Manager | *Discuss with Alyson*  *Level 5 Sherfield* |
| 4 | Project name and number received? |  |  |  | Alyson Brewer | *Alyson will set up Project Fille* |
| 5 | CDM Notification completed, signed and copy sent to EO Safety Team? |  |  |  | Project Manager | *Pro-forma on website* |
| 6 | Pre-Construction Information (PCI), including welfare facilities and record documentation been produced? |  |  |  | Project Manager | *Pro-forma on Website* |
| 7 | Have record documentation O&Ms and Building Fabric Manual (BFM)requirements been agreed and included in the PCI? |  |  |  | Project Manager and Alyson Brewer | *See O&Ms and BFM requirements on Projects Website and agree any additional requirements with user group.* |
| 8 | PCI agreed with Estates Operations (EO) Safety Team? |  |  |  | Project Manager | *Discuss with EO Safety Team.* |
|  | **Pre-Construction Stage**  **(After Contract is awarded)** |  |  |  |  |  |
| 9 | If Project is notifiable, has F10 Template been sent to EO Safety Team? |  |  |  | Project Manager | *Pro-forma on website.*  *EO Safety Team will complete the F10 and issue to HSE.* |
| 10 | Has Construction Phase Plan (CPP) including Fire Management Plan, been received from Principal Contractor (PC) and agreed? |  |  |  | Project Manager | *CPP must be agreed with EO Safety Team and Fire Officer.* |
| 11 | Site Waste Management Plan received from PC? |  |  |  | Project Manager | *SWMP to be agreed with Client and monthly reports provided by the PC* |
| 12 | Welfare facilities agreed and in place and available for start date? |  |  |  | Project Manager | *Must meet the requirements of CDM Schedule 2* |
| 13 | Safety Induction meeting arranged, and Certificate issued to PC? |  |  |  | Project Manager | *See Pro-forma and Agenda on ICL Website* |
| 14 | Pre-start hand-over held with PC and Building Management Team, to view works spaces and agree services information? |  |  |  | Project Manager | *Hand-over Pro-forma on website.* |
| 15 | Decontamination Certificates issued to PC? |  |  |  | Project/Building Manager | *All College spaces require Decontamination Certificates.* |
|  | **Construction Phase Stage** |  |  |  |  |  |
| 16 | Site secured and PC and College notices displayed? |  |  |  | Project Manager | *College notices available via EO CAD Team.* |
| 17 | Have RAMS been received for high risk activities e.g. demolition, excavation, Scaffold, confined spaces? |  |  |  | Project Manager | *Send to EO Safety Team for comment.* |
| 15 | External scaffolding requires telephone linked security alarm, minimum 2400mm hoarding around base and totally enclosed with netting? |  |  |  | Project Manager. | *Discuss with Building Manager and Security* |
| 18 | On site visits with PC. H&S concerns to be discussed on site and reported to EO Safety Team |  |  |  | Project Manager | *Verbal reports* |
| **NB** | **EO Safety Team will undertake safety monitoring and provide reports** |  |  |  |  |  |
|  | **Handover Stage**  **(Project is completed)** |  |  |  |  |  |
| 19 | Project is completed and handed over to Building Manager? |  |  |  | Project Manager | *Agreed with PC, Fire Officer, Security etc* |
| 20 | H&S File and O&M received from Principal, or Main Contractor? |  |  |  | Project Manager | *Draft drawings agreed with CAD Team. Draft text agreed with Building Management Team.* |
|  |  |  |  |  |  |  |

*\*\* CDM’15- Regulation 2: Construction work means the carrying out of any building, civil engineering or engineering construction work and this includes the construction, alteration, conversion, fitting out, commissioning, renovation, repair, upkeep, redecoration or other maintenance, de-commissioning, demolition or dismantling of structure….etc*

*See link below for full definition of construction work (Page 10)*

[*http://www.hse.gov.uk/pubns/priced/l153.pdf*](http://www.hse.gov.uk/pubns/priced/l153.pdf)