| HANDOVER CHECKLIST |
| --- |
| Project Number |  | Project Title |  |
| Project Manager |  | Location |  |
| Activity | Action to/from/by | Due Date | Actual Date |
| Commissioning works completed (refer to contractor commissioning plan/check list) | Contractor |  |  |
| Test Certificates issued (refer to contractor commissioning plan/check list) | Contractor |  |  |
| Witness test, cause-effect test completed (refer to witness test schedule) | Contractor |  |  |
| Outstanding works/outstanding snags (if any) have been completed. | Contractor |  |  |
| Agreement on completion of outstanding snags (if any) | Contractor/ICL |  |  |
| Third party approval/ certificates received Building control Planning conditions Home office Others | Contractor/PM |  |  |
| Fire action note and firefighting appliances installed | Contractor/ICL |  |  |
| Statutory signage installed (fire exit routes, fire door keep shut etc.) | Contractor |  |  |
| Insurances have been notified as required | ICL |  |  |
| Licences in place as required | ICL |  |  |
| Spare parts have been issued to FM | Contractor |  |  |
| Procedure to report post-handover defects is in place | Contractor |  |  |
| Public utilities connections have been completed in coordination with ICL Energy Team | ICL |  |  |
| Presentation of draft O&M Manuals | Contractor |  |  |
| Presentation of draft as-Installed drawings | Contractor |  |  |
| Presentation of draft Building Fabric Manual | Contractor |  |  |
| Draft O&M Manuals returned with comments | Designers/ Maintenance |  |  |
| Draft As-Installed drawings returned with comments | Designers |  |  |
| Draft Building Fabric Manual returned with comments | Designers/ Maintenance |  |  |
| Final O&M Manuals issued | Contractor |  |  |
| Final As-Installed drawings issued | Contractor |  |  |
| Final Building Fabric Manual issued | Contractor |  |  |
| Works inspection schedules issued | Designers/PM |  |  |
| Supervisors sign off of received | Designers/PM |  |  |
| Fire extinguishers installed | College Specialist |  |  |
| Loose furniture installed (see attached list) | Contractor |  |  |
| Fixtures and fittings installed (see attached list) | Contractor |  |  |
| Installation of IT cabinets | ICL |  |  |
| Installation of IT active equipment | ICL |  |  |
| Installation of telephone handsets | ICL |  |  |
| Staff training carried out | Contractor |  |  |
| Confirm date of formal handover meeting to Client/End User | Project Manager / User Coordinator |  |  |
| College suited locks fitted | Contractor |  |  |
| TAG members inspect works | PM |  |  |
| Takeover date |
| Issue Completion Certificate and distribute | PM |  |  |
| Sign off record of handover form | PM |  |  |
| Distribute O&M Manuals, As-Installed drawings, Building Fabric Manual, certificates | Contractor |  |  |
| *Staff training carried out |  |  |  |
| *Demonstrations of additional and/or specialist equipment and systems |  |  |  |
| *List of required Commissioning and Inspection Certificates issued |  |  |  |
| *Fire extinguisher installed |  |  |  |
| *Loose furniture installed (see attached list) |  |  |  |
| *Fixtures and fittings installed (see attached list) |  |  |  |
| *Installation of IT cabinets |  |  |  |
| *Installation of telephone handsets |  |  |  |
| *College suited locks fitted |  |  |  |
| *Undertake formal Handover meeting | Project Manager/User Coordinator |  |  |
| *Record of Handover form completed (see attached) | Project Manager |  |  |
| *Activities should only take place after completion in exceptional circumstances |

List of appendixes

-Commissioning schedule and checklist from contractor

-List of test certificates from contractor

-List of witness tests from contractor

-Snagging list from contractor

-Supervisor final report from all supervisors

-List of Fixtures and fittings

-List Loose furniture