## Engineering Room Data Sheet
ENGINEERING ROOM DATA SHEET
Project Number | [5 empty] | Sheet |  |  | of
Building | [5 empty] | Revision
Floor Level | [5 empty] | Author(s)
Room Number
Room Name | [5 empty] | Date
Drawing Number | [5 empty] | User Representative
REQUIRED CONDITIONS FOR SPACE
TEMPERATURE/HUMIDITY/PRESSURE
|  | Winter Temperature | [5 empty] | Noise sensitivity
|  | Summer Temperature | [5 empty] | Room NR Level
|  | Pressure Relative to Adj Space | [5 empty] | Laser Radiation
|  | Pressure monitor req | [5 empty] | Electrical Radiation
|  | Humidity | max | min |  |  |  | X -Ray Radiation
|  | Close control temperature range | max | min |  |  | Other restrictions e.g. electro-magnetic fields, vibration effects
Other
VENTILATION
|  | Min Air Changes / Hour | [5 empty] | Filtered Supply | HEPA
|  | Fresh Air Supply Volume | [6 empty] | CARBON
|  | Room Extract Volume | [6 empty] | Other
|  | Equipment / Vacuum Exhaust | [5 empty] | Filtered Extract | HEPA
|  | Filtration (%DSE & arrestance) | [6 empty] | CARBON
|  | Fumigation req | [6 empty] | Other
Other
LIGHTING | [7 empty] | EMERGENCY LIGHTING
Average Lux Level
Average Lux Level (night)
Task Lighting Lux Level
Colour Matching
Safety Lighting
Local Lighting Control
PIR control
Dimming Control
Special Fittings
Other
PIPED SERVICES |  |  | BENCH/DADO MOUNTED |  | WALL MOUNTED |  | FLOOR-MOUNTED |  |  | OTHER (OVERHEAD)
Trade Water
Process Water
Distilled Water
De-onised Water
Potable Water
Non Potable Water (Domestic)
Non Potable Water (Laboratory)
Other water - specify
O2 Gas
| Gas | CO2 Gas
| services | CO Gas
| to be | He Gas
| defined | N2 Gas
| as | CH4 Gas
| supplied | Compressed Air
| centrally | Natural Gas
| or bottle | Ar Gas
| supply | H2 Gas
Special Gas
Vacuum
Waste
Other waste
ELECTRICAL SERVICES
Sockets 110V
Sockets 230V 13amp
Sockets 230V 16amp
Sockets 230V 32amp
Sockets 230V other amp
415V Supply 3-phase
Local UPS unit
Equipment alarm
Other
DATA/TELEPHONE
Data Outlets
Telephone
Integrated AV
SECURITY/PA/CCTV/ALARMS
|  | Key lock to doors |  | Door alarm |  |  | Smoke Detection
|  | Key pad access |  | CCTV |  |  | Heat Detection
|  | Doors with key overide |  | Disabled Persons Alarm |  |  | Sprinklers
|  | Card Access |  | PA system |  |  | Other