## Slide 1
Is your mass above 700 Da?
MALDI
Is it a polymer?
Is it soluble and contain a number of polar groups?
ES
EI
LSIMS or DART
Does it have limited functionality?
Does it contain only one or two polar functional groups?
Is it Cationic/Anionic?
Does it contain a large number of polar groups?
Is it Insoluble?
Do you require separation of a mixture?
Please note: Flow Chart is not exhaustive and should be used as a guide only.
Y
N
Y
Y
Y
GCEI
N
N
N
Y
N
Y
EI or CI
Is it a peptide or protein?
Y
Are there buffers or detergents present?
MALDI
N
Do you require separation of a mixture?
LCES
N
Y
N
Y
Y
UPC2
N
N
Y
ES
Will it elute under normal reverse phase conditions?
Y
Y
N
N