## OPT stand
Part # | Description | Manufacturer | Price | Quantity | Total | Note
MECHANICS
KM200 | 2" Kinematic mount | Thorlabs | 57.95 | 1 | 57.95
Z635316-1EA | Lab jack [55x40mm plates] | Sigma Aldrich | 109 | 1 | 109
PT3/M | XYZ stage kit (25mm) (3x DTS25/Mr + 1x DTSA bracket) | Thorlabs | 677.03 | 1 | 677.03
Stand for tip/tilt mount, motor adapter | Machined parts | Homemade |  | 1 | 500
NM17AS-T4-MC04-HSM8 | Stepper motor | Zaber | 159 | 1 | 159 | UK distributor is Laser2000
X-MCB1-KX13BG | Stepper motor controller and PSU | Zaber | 733 | 1 | 733 | UK distributor is Laser2000
704-001-30-10 | Cuvette (30mm optical path) | Hellma | 80 | 1 | 80 | Price is estimated
TOTAL |  |  |  | Total | 2315.98

## Micro-imaging arm
Part # | Description | Manufacturer | Price | Quantity | Total | Note |  | Manufacturer | Price | Quantity | Total
SM1D12CZ | Graduated zero-aperture iris | Thorlabs | 93.93 | 1 | 93.93
ER2-P4 | 6mm rods (2") | Thorlabs | 17.91 | 1 | 17.91
FW102C | Motorized filter wheel | Thorlabs | 908.98 | 1 | 908.98 | Alternative: | Manual 1" filter slider (CFS1/M) | Thorlabs | 124.17 | 1 | 124.17
LCP02/M | X-plate | Thorlabs | 31.65 | 1 | 31.65
ER8-P4 | 6mm rods (8") | Thorlabs | 34.34 | 1 | 34.34
SM1A2 | Adapter with External SM1 Threads and Internal SM2 Threads | Thorlabs | 19.88 | 1 | 19.88
SM2T2 | SM2 (2.035"-40) Coupler, External Threads, 1/2" Long | Thorlabs | 28.21 | 1 | 28.21
SM2L30 | SM2 Lens Tube, 3" Thread Depth, One Retaining Ring Included | Thorlabs | 28.57 | 1 | 28.57
LCP01B | 60 mm Cage Mounting Bracket | Thorlabs | 24.15 | 2 | 48.3
TR50/M | 50mm posts [x5] | Thorlabs | 4.01 | 2 | 8.02
UPH50/M | Universal 50mm post holders with bases[x5] | Thorlabs | 24.75 | 2 | 49.5
LCP09 | 60 mm Cage Plate with Ø2.2" (Ø56.0 mm) Double Bore for SM2 Lens Tube Mounting | Thorlabs | 34.29 | 2 | 68.58
SM2L20C | SM2 Slotted Lens Tube, 2" Thread Depth, 2 Retaining Rings Included | Thorlabs | 63.92 | 1 | 63.92
SM2E60 | SM2 Series Extension Tube, 6" | Thorlabs | 49.71 | 1 | 49.71
AC508-200-A | f = 200.0 mm, Ø2" Achromatic Doublet, ARC: 400 - 700 nm | Thorlabs | 84.41 | 1 | 84.41
SM2A31 | Adapter with External C-Mount Threads and Internal SM2 Threads | Thorlabs | 20.69 | 1 | 20.69
OBJECTIVE | 4X Infinity Plan Achromatic Microscope Objective (AmScope PF4X-INF $67) | AmScope | 100 | 1 | 100
THREAD ADAPTER | Adapter for objective to SM1 thread | Thorlabs | 16.4 | 1 | 16.4
FILTERS | DC/ET810/90M , DC/ET525/50M , DC/ET720/60M | Chroma | 299.87 | 3 | 899.61
01-IRIS-9-USB-M-16-C | Camera (ideally want low dark current , large chip size): IRIS 9 | Teledyne Photometrics | 9950 | 1 | 9950 | Alternative: | Cellcam (fan-cooled IMX183 mono) | Cairn Research Ltd | 895 | 1 | 895
ESTIMATED TOTAL |  |  |  | Total | 12522.61

## Macro-imaging arm
Part # | Description | Manufacturer | Price | Quantity | Total | Note |  | Manufacturer | Price | Quantity | Total
#58-430 | Telecentric lens (1x) | Edmund Optics | 845.75 | 1 | 845.75 | Magnification depends on sample size
HOMEMADE | TL mount | Machined parts |  | 1 | 0
UPH75/M | Universal 30mm post holder with base | Thorlabs | 24.15 | 1 | 24.15
TR50/M | 20mm post | Thorlabs | 3.66 | 1 | 3.66
FW102C | Motorized filter wheel | Thorlabs | 908.98 | 1 | 908.98 | Alternative: | Manual 1" filter slider (CFS1/M) | Thorlabs | 124.17 | 1 | 124.17
FILTERS | DC/ET810/90M , DC/ET525/50M , DC/ET720/60M | Chroma | 299.87 | 3 | 899.61
01-IRIS-9-USB-M-16-C | Camera (ideally want low dark current , large chip size): IRIS 9 | Teledyne Photometrics | 9950 | 1 | 9950 | Alternative: | Cellcam (fan-cooled IMX183 mono) | Cairn Research Ltd | 895 | 1 | 895
ESTIMATED TOTAL |  |  |  | TOTAL | 12632.15

## Light sources
Part # | Description | Supplier | Price | Quantity | Total | Note
LED light engine
MULTILITE | Power supply/controller for LEDs | Cairn | 945 | 1 | 945
LED 470 | 470nm LED | Cairn | 289 | 1 | 289
LED 660 | 660nm LED | Cairn | 289 | 1 | 289
LED 740 | 740nm LED | Cairn | 289 | 1 | 289
CP02/M | 30mm cage plate, SM1 Threaded | Thorlabs | 15.9 | 3 | 47.7
CP12 | 30mm cage plate - 1" bore | Thorlabs | 25.59 | 3 | 76.77
ER2-P4 | 2" 6mm cage rod (pack of 4) | Thorlabs | 17.91 | 3 | 53.73
UPH75/M | Post Holder, 75mm | Thorlabs | 6.39 | 3 | 19.17
| Post holder base |  | 4.02 | 3 | 12.06
TR50/M | 1/2" mounting post, 75mm | Thorlabs | 3.66 | 3 | 10.98
Filter 470 | 470nm excitation filter | Thorlabs | 299.87 | 1 | 299.87
Filter 660 | 660nm excitation filter | Thorlabs | 299.87 | 1 | 299.87
Filter 740 | 740nm excitation filter | Thorlabs | 299.87 | 1 | 299.87
FRP125 | 1" Fresnel lens | Thorlabs | 17.45 | 3 | 52.35
|  |  |  | Total | 2984.37
Multimode laser light engine
LDI-7 |  | Cairn Research Ltd
FW102C | Motorized filter wheel | Thorlabs | 908.98 | 1 | 908.98
Filters as required
FRP251 | 2", f=51mm Fresnel lens collimator | Thorlabs | 17.21 | 1 | 17.21
ED1-S20-MD | 1" 20 degree square engineered diffuser | Thorlabs | 101.75 | 1 | 101.75
| Multimode optical fibre (integrated with LDI-7) |  | 0 | 1 | 0
| fibre vibrator | Cairn Research Ltd | 200 | 1 | 200