Chemistry Risk Assessment

Lab / Room No: 502 Building: Molecular Sciences Research Hub (MSRH), Chemistry Department, Imperial College London, White City Campus, London W12 0BZ PI(s) in charge of area: Prof. Alan C. Spivey

| What is the hazard(s) or hazardous activity? | High Performance Liquid Chromatography (HPLC system) - Use |
| --- | --- |
| Who may be affected? | Students and staff in lab Cleaners Maintenance staff Engineers Other - state who |
| How will injury occur? | (i) Fire/Explosion involving n-hexane, ethyl acetate, isopropanol, acetonitrile solvent reservoirs (ii) Potential injury from automated needle injectors (iii) Shock from electric short circuit |
| What is the likely outcome? | Burns from fire/explosion, needle injuries, electric shock |
| What control measures are in place? | HPLC instrumentation is tested periodically for electrical safety, fire extinguishers are placed within close proximity |
| WHAT MIGHT HAPPEN? Tick all boxes that apply | WHAT EMERGENCY PROCEDURES ARE REQUIRED? |
| Clothing contamination | Remove and wash before re-use Other - please describe |
| Spillage in a fume hood | Describe procedure to follow below |
| a. Insignificant < ml: |  |
| b. Significant > ml: |  |
| Spillage outside a fume hood | Describe procedure to follow below |
| a. Insignificant < ml: |  |
| b. Significant (i.e. will cause immediate harm) > ml: |  |
| Skin/eye contact: | Wash with copious amounts of running water for 20 mins Other - please describe |
| Cut/wound: | Encourage to bleed by washing with warm water. Then wash with copious amounts of running water for 20 mins. Report to Occupational Health with MSDS |
| Inhalation | Remove to fresh air Other |
| Fire: | Extinguisher Type – please describe CO2 Sand Other - please describe |
| Fume hood breakdown: | Turn off/remove from heat source Pull down sash Other – please describe |
| Failure of other engineering control measure: | Switch off the instrument and electric supply/computer |
| Other – Please give details |  |

I have read and understood this risk assessment, received the relevant training and will abide by the health and safety procedures for the above.

| Name | Date | Signature |
| --- | --- | --- |